Telecon Minutes

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Monday, January 26, 2008 at 11:30AM EST

Participants

Stephen Berger

Jim Turner

Steve Julstrom

Joe Morissey

Tom Victorian

Daoud Attiya

Tom Knipple

Justin Chow

Dave Preves

Steve Koston

Linda Kozma-Spytek

Minutes

- The chair called the meeting to order at 10:30 AM CT.   Participants were identified and self-introductions were made.

- The agenda was reviewed.  Items for a discussion of T-Coil measurements and future telecons were added and the agenda was approved.

- Draft Revision 1.6 was posted to the committee webpage before the meeting.  A review of the decisions from the December 15, 2008 meeting was conducted.

- A request was made for those planning on conducting verification testing to report that.  A discussion followed:

  - Steve Julstrom stated that he had 2 boxes built and operational implementing the MIF in analog circuitry.

  - Tom Knipple reported that he will be borrowing one of the MIF boxes and will be testing using several different technology phones.

  - Stephen Berger reported that he will be borrowing one of the boxes and programming the reading using LabVIEW.

  - Justin Chow from PCTest will be doing some comparative testing.

  - Daoud Attayi from RIM reported that they will be doing some comparative testing.

  - Steve Koston reported that Sony Ericson would be making some measurements.

- Telecons were set for:

  - Thursday February 12, 2009, 11:30 AM ET

  - Monday March 9, 2009, 11:30 AM ET

- A discussion was held of the possible implication of the changes made on the T-Coil testing.  No decisions were made in this regard on this call.

The discussion transitioned into a brief discussion of the no-test threshold.

- In-Person meeting: 

Mon. April 20, 2009 at TBD 
IEEE Headquarters
Piscataway, NJ

- Adjourn

TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Wednesday, January 21, 2009 at 11:30AM EST

Phone Number: 	(218) 936-4700

Meeting ID: 	626642

- Call to order and introductions

- Approval of agenda

- Review and approval of minutes for Dec. 15 meeting.

  - Review of draft

- Discussion of T-Coil testing re other changes.

- Other telecons?

- In-Person meeting: 

Mon. April 20, 2009 at TBD 
IEEE Headquarters
Piscataway, NJ

- Adjourn

Summary of Action Items

| # | Item | Status |
| --- | --- | --- |
|  | Action Items from January 26, 2009 WG Meeting |
| 1 | Action item: Steve Julstrom, Tom Knipple and Stephen Berger will be reviewing the draft and incorporate contribution from Steve Julstrom and Tom Knipple. | February 1 |
| 2 | Action item: Companies and groups that identified they will be performing comparative and verification testing are to mature plans and report plan on the Feb. 12 telecon. | Due Feb. 12 |
| 3 | Action item: |  |

| Conference Summary |  |
| --- | --- |
| Conference Type: | Web-Scheduled Standard |
| Conference Date: | Monday, January 26, 2009 |
| Reservation Start Time: | 10:30 AM Central Std Time |
| Reservation End Time: | 11:55 AM Central Std Time |
| Dial-in Number: | 1-218-936-4700 |
| Access Code: | 626xxx |
| Conference Details |
| # Start Time End Time Caller Number Mins. 1 01/26/2009 10:28 AM 11:44 AM 954-723-xxxx 77 2 01/26/2009 10:28 AM 11:44 AM 76 3 01/26/2009 10:29 AM 11:44 AM 952-828-xxxx 76 4 01/26/2009 10:29 AM 11:44 AM 301-596-xxxx 76 5 01/26/2009 10:29 AM 11:44 AM 410-290-xxxx 75 6 01/26/2009 10:30 AM 11:44 AM 630-452-xxxx 75 7 01/26/2009 10:31 AM 11:28 AM 773-706-xxxx 57 8 01/26/2009 10:32 AM 11:44 AM 519-888-xxxx 73 9 01/26/2009 10:32 AM 11:49 AM 941-201-xxxx 77 10 01/26/2009 10:33 AM 11:44 AM 512-869-xxxx 72 11 01/26/2009 10:35 AM 11:44 AM 919-536-xxxx 70 12 01/26/2009 10:36 AM 11:44 AM 301-362-xxxx 69 13 01/26/2009 10:41 AM 10:45 AM 469-231-xxxx 5 14 01/26/2009 10:45 AM 11:02 AM 469-231-xxxx 17 15 01/26/2009 10:56 AM 11:44 AM 202-651-xxxx 49 16 01/26/2009 11:28 AM 11:44 AM 773-706-xxxx 17 |
| Total Calls: | 16 |
| Peak number of active lines: | 14 |
| Lines reserved: | 8 |