### Application of Ferrite Tubes to Single Cables Versus Multiple Cables

Bruce Harlacher

Fischer Custom Communications, Inc.

October 25, 2002

# Introduction

There have been a variety of discussions on the appropriate ways to apply ferrite tubes as per the requirements of Amendment 1 to CISPR 22 (1997).  A major concern has centered on handling test setups with large numbers of cables while still adhering to the one ferrite tube per cable requirement of Amendment 1.  The main issues were the potential size, weight, and cost issues of implementing the one ferrite tube per cable requirement for large numbers of cables.

To mitigate these concerns, it has been proposed to allow multiple cables to be routed through a single ferrite tube.  At Christchurch, this proposed approach was modified to allow only similar cable types to be routed through a single ferrite tube.  While this approach addresses the size, weight, and cost issues, it raised possible technical issues that include:

- Each cable may not “see” the same specified insertion loss.  Cables in the center of the cable bundle may be “shadowed” by the cables on the exterior of the bundle.

- Bundling cables together to fit in the ferrite tube may increase cross-talk problems between the cables.

- The ferrite tube may provide the specified insertion loss only to those common mode conducted signals that are of the same frequency and in phase on the cables passing through the ferrite tube.  For example, if two cables had the same signal, but were 180 degrees out of phase, the ferrite tube will provide little or no insertion loss.

- If any or all of the above statements are correct, test repeatability may be compromised.

It was also proposed at the Christchurch meeting to specify the required insertion loss of the ferrite tube in only the frequency range of 30 to 300MHz; required insertion loss from 300 to 1000MHz will not be specified.  In keeping with this decision, the test data provided herein is over the 30 to 300MHz range.

This memo provides test data that address the first 2 technical concerns cited above.

# Ferrite Tube Test Article

The ferrite tube tested was a Fischer Model F-201-DCN-1-12mm that has a split circular core.  It should be noted that this ferrite tube is different from clamp-on decouplers previously available.  The Fischer Model F-201-DCN-1-12mm  is approximately 300 mm x 50 mm x 50 mm, and has a circular aperture of 12 mm in diameter.

# Part 1.  Shadowing and Cross-coupling Effects

This test was performed using a modified U-shaped calibration-type fixture.  This fixture is not the same as the fixture used for official calibration of ferrite tubes; it was constructed specifically for this test. A cable bundle of seven (7) #14 insulated wires was constructed.  One wire was centered in the bundle with the other six wires surrounding the center wire.  The bundle was placed through the Fischer Model F-201-DCN-1-12mm ferrite tube which was then placed in the modified U-shaped calibration type fixture as shown in Figure 1.  All wires were driven in common.  Each wire was terminated with a 390 ohm resistor (the closest value on-hand to 350 ohms) to provide a common mode termination of approximately 55 ohms to match the 50 ohm source impedance of the Network Analayzer.  A Fischer Model FCC-BCP-2 Differential Voltage Probe was used for the following measurements.

Figure 1.  Setup for insertion loss measurements using the Fischer Model F-201-DCN-1-12mm on a 7 wire bundle.

The voltage probe was placed at Point X shown in Figure 1, and the Network Analyzer was normalized.  The voltage across the termination of the wire in the center of the bundle (denoted as Point A in Figure 1) and the voltage across the termination of one of the wires on the exterior of the bundle (denoted as Point B in Figure 1) were measured.  The ratios of these voltages to the normalized voltage at Point X are shown in Figure 2.

Figure 2 shows that there are minor different differences in the insertion loss between shadowed and un-shadowed wires.  Shadowing does not appear to be a major issue.

# Part 2.  Asymmetrical Drive of Wires in a 7 Wire Bundle

The test setup shown in Figure 1 was modified by disconnecting one of the wires from the Network Analyzer drive.  This wire was terminated at the drive side of the calibration fixture with another 390 ohm resistor.  Six wires are now being driven in common; the 7th wire is passive.

The voltage probe was placed at Point X and the Network Analyzer was normalized. The voltage across the termination of the wire in the center of the bundle (denoted as Point A in Figure 1) and the voltage across the termination of the undriven wire  (denoted as Point B in Figure 1) were measured.  The ratios of these voltages to the normalized voltage at Point X are shown in Figure 2.

It can be seen that there is a substantial reduction in insertion loss from that observed in Part 1.

Curve 3 in Figure 2 shows the insertion loss on a driven wire.  Curve 4 shows that a signal was present on the passive wire in the bundle.  There are two possible sources for this induced signal.  The first is the transformer effect from the driven wire as the primary and the passive wire as the secondary.  The other possibility is that this signal was induced by crosstalk from the driven wires in the bundle.  It is possible that some of each effect were present.

Figure 2.  Insertion loss test data on a 7 wire bundle using Fischer Model F-201-DCN-1-12mm.

It should be noted that the test approach used for the above measurements does not reflect the methodology recommended by Fischer for calibrating the insertion loss of a ferrite tube.  The test approach cited above was selected for this test only to allow the appropriate voltage comparisons to be made.  Fischer believes using this test approach for calibrating insertion loss will result in overstating the insertion loss (i.e. the insertion loss data in Figure 2 are overstated).  This measurement technique, however, is still valid for the comparison measurements made in Figure 2.

# Part 3.  Asymmetrical Drive of Wires in a 2 Wire Bundle

The above testing used the voltage at the input to the modified U-shaped calibration type fixture as the reference for the voltage measurements at the output of the fixture. While this was necessary for those measurements, Fischer recommends using the voltage at the output of the fixture as the reference which allows the fixture effects to be removed from the measurement.  This approach is used in the following measurements.

Figure 3 shows the test setup used for these measurements.  Initially, the ferrite tube was removed from the modified U-shaped calibration fixture and only the driven wire was connected – the undriven wire shown as a dotted line in Figure 3 was removed.  The Network Analyzer was normalized so the signal at U-fixture output (Point A in Figure 3) included the fixture’s effects.  The ferrite tube was then re-installed, and the voltage at Point A was re-measured – this represents the insertion loss of only the ferrite tube measured in a 50 ohm system.  This measurement is shown in Figure 4 and can be seen to meet the minimum insertion loss requirement of 15dB.

The undriven wire shown as a dotted line in Figure 3 was then installed through the ferrite tube with a 50 ohm load on each end, and the voltages at Point A and B were then re-measured.  The ratios of these voltages to the normalized voltage without the ferrite tube present are shown in Figure 4.

It can be seen that the introduction of a wire having a dissimilar signal to the driven wire seriously reduces the insertion loss of both wires compared to that of a single wire.  While this may be a worst case, it points out the significant insertion loss reduction that may occur if cables having substantially different conducted signals are placed in a common ferrite tube.

Figure 3.  Setup for insertion loss measurements on a 2 wire bundle using Fischer Model F-201-DCN-1-12mm ferrite tube.

Figure 4. Results of insertion loss testing on 2 wire bundle using Fischer Model F-201-DCN-1-12mm ferrite tube.

It has been proposed to allow only similar types of cables to be placed in a common ferrite tube.  The above data demonstrate the potential adverse impact on insertion loss if similar cables passing through a common ferrite tube do not have similar common mode signals.  It should not be assumed that all similar cables will have similar common mode signals.  The common mode signal and its relative phase on a given cable will be influenced by some combination of the following:

- Common mode signal generated inside the EUT and then coupled to the EUT output cable as a common mode drive.

- The common mode signal generated by the differential to common mode conversion of the EUT differential signal as determined by the balance of the cable itself

- Common mode signal generated inside the AE and then coupled to the AE output cable as a common mode drive.

- The common mode signal generated by the differential to common mode conversion of the AE differential signal as determined by the balance of the cable itself.

- Pickup of signals on the cable under test from other sources, such as crosstalk and radiated signals, which induce common mode signals on the cable.

- Relative lengths of cables between the EUT(s) and the AE(s).

It is unlikely that all similar types of cables in a given test configuration will have these same characteristics.