## Impedance measurements on the absorbing clamps MDS21 and AMZ41

- MDS21, SN.863327/016

1.1	Calibration reference point:	end of the cable from the NA to the fixture

Figure 1: MDS21_03a.bmp

Distance between fixture and first ferrite		30mm

# Figure 2: MDS21_05a.bmp

Distance between fixture and first ferrite		50mm

# Figure 3: MDS21_10a.bmp

Distance between fixture and first ferrite		100mm

1.2	Calibration reference point:	end of the fixture (input aperture of the CMAD)

Figure 4: MDS21_03b.bmp

Distance between fixture and first ferrite		30mm

# Figure 5: MDS21_05b.bmp

Distance between fixture and first ferrite		50mm

# Figure 6: MDS21_10b.bmp

Distance between fixture and first ferrite		100mm

Blue trace:	end of the test wire is shorted to the ground reference plane on the second fixture

Red trace:	end of the test wire is open on the second fixture

Heigth of the test wire above the ground reference plane:	65mm

Fixture is in accordance to IEC1000-4-6 (height changed to 65mm)

Diameter of the test wire:					4mm (solid wire)

Lenght of the test wire:						75cm

- AMZ41, SN.19165

2.1	Calibration reference point:	end of the cable from the NA to the fixture

Figure 7: AMZ41_03a.bmp

Distance between fixture and first ferrite		43mm

# Figure 8: AMZ41_05a.bmp

Distance between fixture and first ferrite		63mm

# Figure 9: AMZ41_10a.bmp

Distance between fixture and first ferrite		113mm

2.2	Calibration reference point:	end of the fixture (input aperture of the CMAD)

Figure 10: AMZ41_03b.bmp

Distance between fixture and first ferrite		43mm

# Figure 11 AMZ41_05b.bmp

Distance between fixture and first ferrite		63mm

# Figure 12: AMZ41_10b.bmp

Distance between fixture and first ferrite		113mm

Blue trace:	end of the test wire is shorted to the ground reference plane on the second fixture

Red trace:	end of the test wire is open on the second fixture

Heigth of the test wire above the ground reference plane:	65mm

Fixture is in accordance to IEC1000-4-6 (height changed to 65mm)

Diameter of the test wire:					4mm (solid wire)

Lenght of the test wire:						75cm