TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Wednesday, October 29, 2008 at 11:30AM EST

Phone Number: 	(218) 936-4700

Meeting ID: 	626642

- Call to order and introductions

- Approval of agenda

- Review and approval of minutes for Oct. 14 telecon.

- Review work on task assignments for 3 task groups
(any draft wording that has been prepared will be reviewed)

  - Task group on RF protocol (technology) evaluation

  - Task group on generalized test method

  - Task group on specification & calibration of instrumentation

- Next telecons: 

Monday Nov. 17 	at 11:30 AM ET  

Call Dial-in Number: 1-218-936-4700
 Participant Access Code is: 626642

- In-Person meeting: 

Mon. Dec. 15, 2008 at 9:00 AM – 5:00 PM CT
Etymotic Research
Elk Grove Village, IL

- Adjourn

Task Organization – Task Group 1

Task Group Assignment (Motion of October 6, 2008 WG3 meeting):

“Move to develop a new chapter for the standard to address the interference potential of new technologies and not require testing of products that do not have a significant potential for interference.”

Task Group Participants:

Dave Case, Joe Morissey, Dave Preves, Stephen Berger, Steve Julstrom, Jim Turner.

Table of Contents for Chapter

- RF Protocol Evaluation

  - Introduction

  - Definition of RF protocol

  - Analysis of RF protocol

  - Evaluation of interference potential

  - Product testing threshold

Task Organization – Task Group 2

Task Group Assignment (Motion of October 6, 2008 WG3 meeting):

“Move to develop a test procedure in Clause 4 to implement a generalized test method, but leave the current method unchanged in the document.  The new method would apply to new RF technologies, not presently included in the current AWF table.”

Task Group Participants:

Joe Morissey, Dave Preves, Scott Isabelle, Steve Julstrom, Steve Coston, Mead Killion, Jim Turner, Stephen Berger.

Table of Contents for Section

- Direct measurement method

- Introduction

- Measurement specifications (may be placed in Annexes)

    - Spectral Weighting

    - Temporal Weighting

    - Detector

- Detailed test procedure

    - Pre-test procedure

    - Test procedure

II. Category table for direct measurement method

Task Organization – Task Group 3

Task Group Assignment (Motion Formed at Oct. 7 SC8 Meeting):

“Prepare equipment specifications and calibration procedures for instruments used in the direct measurement”

Task Group Participants:

Stephen Berger, Steve Julstrom, Dave Case, Daoud Attayi.

Table of Contents for Section

- Revision of Annex C to correlate results from both methods

- Instrument Specifications (To be added to Annex D)

- Probe

- Square Law Detector

- Verification procedure