TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Friday, February 13, 2009 at 11:30AM EST

Phone Number: 	(218) 936-4700

Meeting ID: 	626642

- Call to order and introductions

- Approval of agenda

- Review and approval of minutes for Dec. 15 meeting & Jan. 21 telecon.

- Review of draft 1.7

  - C.4 Calibration of dipoles, can only an E-Field calibration be used?

  - Report form in Annex L needs to be update to reflect new limits, elimination of H-Field testing and frequency break at 960 MHz.

  - Removal of Annex I, Measurement of peak power across multiple airlink technologies

- Next telecon:

Monday March 9, 2009, 11:30 AM ET
same call information as for Feb. 13 telecon

- In-Person meeting: 

Mon. April 20, 2009 at TBD 
IEEE Headquarters
Piscataway, NJ

- Adjourn

Task Organization – Task Group 1

Task Group Assignment (Motion of October 6, 2008 WG3 meeting):

“Move to develop a new chapter for the standard to address the interference potential of new technologies and not require testing of products that do not have a significant potential for interference.”

Task Group Participants:

Dave Case, Joe Morissey, Dave Preves, Stephen Berger, Steve Julstrom, Jim Turner.

Table of Contents for Chapter

- RF Protocol Evaluation

  - Introduction

  - Definition of RF protocol

  - Analysis of RF protocol

  - Evaluation of interference potential

  - Product testing threshold

Task Organization – Task Group 2

Task Group Assignment (Motion of October 6, 2008 WG3 meeting):

“Move to develop a test procedure in Clause 4 to implement a generalized test method, but leave the current method unchanged in the document.  The new method would apply to new RF technologies, not presently included in the current AWF table.”

Task Group Participants:

Joe Morissey, Dave Preves, Scott Isabelle, Steve Julstrom, Steve Coston, Mead Killion, Jim Turner, Stephen Berger.

Table of Contents for Section

- Direct measurement method

- Introduction

- Measurement specifications (may be placed in Annexes)

    - Spectral Weighting

    - Temporal Weighting

    - Detector

- Detailed test procedure

    - Pre-test procedure

    - Test procedure

II. Category table for direct measurement method

Task Organization – Task Group 3

Task Group Assignment (Motion Formed at Oct. 7 SC8 Meeting):

“Prepare equipment specifications and calibration procedures for instruments used in the direct measurement”

Task Group Participants:

Stephen Berger, Steve Julstrom, Dave Case, Daoud Attayi.

Table of Contents for Section

- Revision of Annex C to correlate results from both methods

- Instrument Specifications (To be added to Annex D)

- Probe

- Square Law Detector

- Verification procedure