Telecon Minutes

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Tuesday, October 14, 2008 at 11:30AM EST

Participants

Stephen Berger

Jim Turner

Steve Julstrom

Tom Knipple

Dave Preves

George Hirvela

Linda Kozma-Spytek

Don Witters

David Dzumba

Dave Case

Bob Hofmann

Tom Victorian

Justin Chow

Minutes

- The chair called the meeting to order at 10:30 AM CT.   Participants were identified and self-introductions were made.

- The agenda was reviewed and approved.

- Review & approval of Oct. 6, 2008 meeting minutes.

- Discussion of Task Group 1 assignment

AI: Mead Killion & Tom Victorian took an assignment to develop wording for the device setup.

- A brief discussion was held of the assignment to task group 2 & 3.

- A discussion was held of the poll, scheduled to close on October 15, to modify a motion approved at the October 6 WG3 meeting.

- Next telecons: 

Wednesday Oct. 29 	at 11:30 AM ET
Wednesday Nov. 17 	at 11:30 AM ET  

Call Dial-in Number: 1-218-936-4700
Participant Access Code is: 626642

- In-Person meeting: 

Mon. Dec. 15, 2008 at 9:00 AM – 5:00 PM CT
Etymotic Research
Elk Grove Village, IL

- Adjourn

TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Tuesday, October 14, 2008 at 11:30AM EST

Phone Number: 	(218) 936-4700

Meeting ID: 	626642

- Call to order and introductions

- Approval of agenda

- Review and approval of minutes for Oct. 6.

- Initial work on task organization for 3 task groups

  - Task group on RF protocol (technology) evaluation

  - Task group on generalized test method

  - Task group on specification & calibration of instrumentation

- Discussion – E-Mail ballot to revise approved motion from Oct. 6

The motion in question was stated in item No. 6 in the Minutes as:

"Move to develop a test procedure in Clause 4 to implement a generalized test method, but leave the current method unchanged in the document.  The new method would apply to new RF technologies, not presently included in the current AWF table."

The new motion would replace item No. 6 in the Minutes to read as:

"Move to develop an evaluation method and test procedure in Clause 4 to implement a generalized test method, but leave the current method unchanged in the document."

- Next telecons: 

Wednesday Oct. 29 	at 11:30 AM ET
Wednesday Nov. 17 	at 11:30 AM ET  

Call Dial-in Number: 1-218-936-4700
 Participant Access Code is: 626642

- In-Person meeting: 

Mon. Dec. 15, 2008 at 9:00 AM – 5:00 PM CT
Etymotic Research
Elk Grove Village, IL

- Adjourn

Task Organization – Task Group 1

Task Group Assignment (Motion of October 6, 2008 WG3 meeting):

“Move to develop a new chapter for the standard to address the interference potential of new technologies and not require testing of products that do not have a significant potential for interference.”

Task Group Participants:

Dave Case, Joe Morissey, Dave Preves, Stephen Berger, Steve Julstrom, Jim Turner.

Table of Contents for Chapter

- RF Protocol Evaluation

  - Introduction

  - Definition of RF protocol

  - Analysis of RF protocol

  - Evaluation of interference potential

  - Product testing threshold

Task Organization – Task Group 2

Task Group Assignment (Motion of October 6, 2008 WG3 meeting):

“Move to develop a test procedure in Clause 4 to implement a generalized test method, but leave the current method unchanged in the document.  The new method would apply to new RF technologies, not presently included in the current AWF table.”

Task Group Participants:

Joe Morissey, Dave Preves, Scott Isabelle, Steve Julstrom, Steve Coston, Mead Killion, Jim Turner, Stephen Berger.

Table of Contents for Section

- Direct measurement method

- Introduction

- Measurement specifications (may be placed in Annexes)

    - Spectral Weighting

    - Temporal Weighting

    - Detector

- Detailed test procedure

    - Pre-test procedure

    - Test procedure

II. Category table for direct measurement method

Task Organization – Task Group 3

Task Group Assignment (Motion Formed at Oct. 7 SC8 Meeting):

“Prepare equipment specifications and calibration procedures for instruments used in the direct measurement”

Task Group Participants:

Stephen Berger, Steve Julstrom, Dave Case, Daoud Attayi.

Table of Contents for Section

- Revision of Annex C to correlate results from both methods

- Instrument Specifications (To be added to Annex D)

- Probe

- Square Law Detector

- Verification procedure

Summary of Action Items

| # | Item | Status |
| --- | --- | --- |
|  | Action Items from October 6, 2008 WG Meeting |  |
| 1 | Action item: Task group to prepare a chapter on new technology evaluation. |  |
| 2 | Action item: Task group to prepare a generalized test procedure. |  |
| 3 | Action item: Prepare equipment specifications and calibration procedures for instruments used in the direct measurement. Volunteers to help with this AI were Steve Julstrom, Dave Case, Daoud Attayi. |  |
|  | Action Items from October 14, 2008 WG Telecon |  |
| 4 | Action item: Mead Killion & Tom Victorian to develop wording for draft. |  |
|  | Action item: |  |
|  | Action item: |  |

| Conference Summary |  |
| --- | --- |
| Conference Type: | Web-Scheduled Standard |
| Conference Date: | Tuesday, October 14, 2008 |
| Reservation Start Time: | 10:30 AM Central Daylight Time |
| Reservation End Time: | 12:10 PM Central Daylight Time |
| Dial-in Number: | 1-218-936-4700 |
| Access Code: | 626xxx |
| Conference Details |  |
| #; Start Time; End Time; Caller Number; Mins.. 1; 10/14/2008 10:23 AM; 11:50 AM; 410-290-xxxx; 88. 2; 10/14/2008 10:28 AM; 11:50 AM; 82. 3; 10/14/2008 10:28 AM; 11:50 AM; 630-452-xxxx; 82. 4; 10/14/2008 10:29 AM; 11:50 AM; 519-888-xxxx; 82. 5; 10/14/2008 10:29 AM; 11:50 AM; 952-828-xxxx; 81. 6; 10/14/2008 10:31 AM; 11:50 AM; 773-706-xxxx; 80. 7; 10/14/2008 10:31 AM; 11:50 AM; 469-231-xxxx; 80. 8; 10/14/2008 10:31 AM; 11:50 AM; 847-228-xxxx; 79. 9; 10/14/2008 10:31 AM; 11:50 AM; 79. 10; 10/14/2008 10:31 AM; 11:50 AM; 512-869-xxxx; 79. 11; 10/14/2008 10:31 AM; 10:32 AM; 512-925-xxxx; 2. 12; 10/14/2008 10:32 AM; 11:50 AM; 301-796-xxxx; 79. 13; 10/14/2008 10:32 AM; 11:50 AM; 630-664-xxxx; 78. 14; 10/14/2008 10:33 AM; 11:08 AM; 512-925-xxxx; 35. 15; 10/14/2008 10:37 AM; 11:50 AM; 301-693-xxxx; 73. 16; 10/14/2008 10:42 AM; 11:50 AM; 330-896-xxxx; 69. 17; 10/14/2008 11:02 AM; 11:50 AM; 410-290-xxxx; 48. |
| Total Calls: | 17 |
| Peak number of active lines: | 16 |
| Lines reserved: | 15 |