Telecon Minutes

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Thursday, April 16, 2009 at 2:00 PM EST

Participants

Stephen Berger

Steve Julstrom

Tom Knipple

Jim Turner

Tom Victorian

Dave Case

Dave Dzumba

Dave Preves

Don Bowen

Bill Hurst

Daoud Attiya

Minutes

- The chair called the meeting to order at 2:00 PM ET.   Participants were identified and self-introductions were made.

- The agenda was approved without change.

- The minutes of the April 9 telecon were approved without change.

- A discussion of draft revision 1.10 was held, with a focus on the following issues:

  - Method proposed for calculation of the final result.

New language was approved based on Steve Julstrom’s April 13 proposed wording, E-Mailed to the WG reflector, with modifications to change the word ‘calibration’ to ‘characterization’ and replacing ‘fast probe’ with a description of what is meant.

  - Definition of the modulation interference factor.

A new definition of modulation interference factor based on Steve Julstrom’s April 13 proposed wording, E-Mailed to the WG reflector, with modifications to remove the V/m references, to support conducted measurements.

  - Slow probe test procedure.

Revised wording was approved for Section 5.4.1.3 “Test procedure – slow response probe measurement”.

- Efforts to test and validate the new test method were reported with a discussion of the validation effort.

- In-Person meeting: 

Mon. April 20, 2009 at TBD 
IEEE Headquarters
Piscataway, NJ

- Adjourn

TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Thursday, April 16, 2009 at 2:00PM EST

Phone Number: 	(218) 936-4700

Meeting ID: 	626642

- Call to order and introductions

- Approval of agenda

- Review and approval of minutes for the April 9  telecon.

- Review of draft 1.10

- Test method validation

- In-Person meeting: 

Mon. April 20, 2009 at 12-5. 
IEEE Headquarters
Piscataway, NJ

- Adjourn

Summary of Action Items

| # | Item | Status |
| --- | --- | --- |
|  | Action Items from January 26, 2009 WG Meeting |  |
| 1 | Action item: Steve Julstrom, Tom Knipple and Stephen Berger will be reviewing the draft and incorporate contribution from Steve Julstrom and Tom Knipple. | Closed |
| 2 | Action item: Companies and groups that identified they will be performing comparative and verification testing are to mature plans and report plan on the Feb. 12 telecon. | Closed |
| 3 | Action item: Tom Knipple has been testing using the MIF method and will be presenting a report to the WG by 3/16/09. | Closed |
| 4 | Action item: Dave Chapman and Stephen Berger are to develop plans for verification testing and report back to the WG. | Status Report Given 3/12/09 Work Continuing |