Meeting Minutes

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Place/Time: 	IEEE Headquarters
Picataway, NJ
Monday, April 20, 2009 at 1:00 – 5:00 PM EST

Participants

Stephen Berger

Steve Julstrom

Tom Knipple

Tom Victorian

Dave Dzumba

Don Bowen

Bill Hurst

Daoud Attiya

Dave Chapman

Steve Coston

Kendra Green

Linda Kozma-Spytek

By Telecon:

Joe Morissey

Dave Case

Minutes

- The chair called the meeting to order at 1:00 PM ET.   Participants were identified and self-introductions were made.

- The agenda was approved without change.

- The minutes of the April 16 telecon were approved without change.

- The patent policy was reviewed.

- Tom Victorian made a presentation, titled “EMI GTEM Dipole Data and Analysis

- A discussion of draft revision 1.11 was held.  The result of the discussion was draft revision 1.12, which is being distributed to the WG.

- Efforts to test and validate the new test method were reported with a discussion of the validation effort.

  - A proposal was made to:

    - have a WG/SC review of all sections of the draft except for Clauses 4-5 by May 20 with a telecon on approximately that date to discuss comments.  Also on approximately May 20 the compiled comments will be released to the WG/SC.

    - Following the receiving of comments there will be a 30 day period for review of the comments a WG/SC ballot will close for response to the received comments.

    - For Clauses 4-5 a similar process will be used but with comments due approximately June 20 with telecom on approximately that date.

    - Response to those comments in a WG/SC ballot will close on approximately July 20.

The proposal was approved with 1 abstension.

- In-Person meeting: 

In addition to the monthly telecon’s being planned, a tentative decision was made (2 abstaining votes) to meet June 18 in Nashville, TN, connected to the HLAA meeting.

Linda Kozma-Spytek and Dave Dzumba took an action item to get a meeting room and provide information on nearby hotels to the WG.

- Adjourn

TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Monday, April 20, 2009 between 1:00AM – 5:00 PM ET

Location: 	IEEE Headquarters

Piscataway, NJ

Dial-in Number: 	1-218-936-4700

Access Code: 	626642

- Call to order and introductions

- Approval of agenda

- Review and approval of past minutes

- Patent Policy

- Presentation of GTEM to Dipole correlation data

- Review of draft

- Discussion of validation testing

- Demonstration – Generalized Test Method

- Workplan & schedule

- Next meeting: TBD

- Adjourn

Summary of Action Items

| # | Item | Status |
| --- | --- | --- |
|  | Action Items from January 26, 2009 WG Meeting |  |
| 1 | Action item: Steve Julstrom, Tom Knipple and Stephen Berger will be reviewing the draft and incorporate contribution from Steve Julstrom and Tom Knipple. | Closed |
| 2 | Action item: Companies and groups that identified they will be performing comparative and verification testing are to mature plans and report plan on the Feb. 12 telecon. | Closed |
| 3 | Action item: Tom Knipple has been testing using the MIF method and will be presenting a report to the WG by 3/16/09. | Closed |
| 4 | Action item: Dave Chapman and Stephen Berger are to develop plans for verification testing and report back to the WG. | Status Report Given 3/12/09 Work Continuing |