Telecon Minutes

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Friday, October 16, 2009 at 2:30 PM EST

Participants

Stephen Berger

Steve Julstrom

Tom Knipple

Jim Turner

Dave Case

Don Bowen

Linda Kozma-Spytek

Dave Preves

Tom Victorian

Dave Chapman

Steve Coston

Minutes

- The chair called the meeting to order.   Participants were identified and self-introductions were made.

- The agenda was approved without change.

- The minutes of the October 9, 2009 telecon were approved with Donald Bowen and Steve Julstrom abstaining.

- A review of the verification test plan, included in the October 9, 2009 minutes was conducted.  The test plan was revised as reflected in the attachment to these minutes.

- A discussion was held of other items needed before taking the draft to ballot.  The following items were added and will be included on the agenda for the October 19, 2009 in-person meeting:

  - Review of clause 4 (low power exemption).

  - Review of the arbitration between the 2 test methods (slow v fast probe)

- In-Person meeting: 

Monday October 19, 2009 at 1:00-5:00 PM MT
Boulder, CO

- Adjourn

TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Friday, October 16, 2009 at 2:30 AM EST

Phone Number: 	(218) 936-4700

Meeting ID: 	626642

- Call to order and introductions

- Approval of agenda

- Test method validation – work on draft plan

- Draft – comments on draft 1-13.

- Review of project status and preparation for October 19, 2009 in-person meeting.

- In-Person meeting: 

Monday, October 19, 2009 
Boulder, CO

- Adjourn

Validation Test Plan

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

This test plan is being developed to validate the test method changes being considered for the next revision of the ANSI C63.19 standard.

Overview

This test method intends to achieve the following:

- Validate the clarity of the draft by performing the required tests.

  - The intention is to test phones using the following RF modulations:

    - GSM

    - CDMA

    - UMTS

    - LTE (if available)

  - The measurements will provide target values for MIF and final readings, which will be useful for laboratories to use in validating their own implementation of the test.

  - Validate that the test methods work for both fast and slow probes.

- Validate that the correlation of the new test method and new categories to the current test method and categories.

- Validate the correlation of the new test method to field performance of the phones tested

Tasks

The following tasks are necessary to achieve the objectives of this test plan:

| # | Task | Assignment / Status |
| --- | --- | --- |
| 1 | Identify Test Labs & their capbility - Test equipment (fast and/or slow probe) - Base stations (GSM, CDMA, etc.) | Daoud Attiya (RIM) Tom Knipple (Motorola) |
| 2 | Secure phones to be tested | ?? |
| 3. | Draft base station configuration for each protocol to be tested: - GSM - CDMA - UMTS - LTE (if available) | Justin Chao (PCTest) Dave Chapman (ATT) |
| 4. | Provide MIF test equipment: - Hardware implementation - Software implementation | Steve Julstrom Stephen Berger |
| 5. | Schedule tests, manage shipment of test objects & gathering of test data. | Stephen Berger |
| 6. | Have phones tested: - Using current standard - Using draft revision - Measure phone for MIF on live network in 5 different locations/circumstances | See item 1 |
| 7. | Compile and analyze data and provide it to the WG. | Stephen Berger |