Meeting Minutes

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Monday, October 19, 2009 at 1:00 – 5:00 PM MT

Participants

Stephen Berger

Steve Julstrom

Jim Turner

Tom Victorian

Dave Preves

Tom Knipple

Dave Dzumba 
Daoud Attayi 
Kendra Green
Jeff Silberberg 
Bob Hoffman
Linda Kozma-Spytek
Amal Katrib
Dave Chapman
Steve Coston
Steve Liu
Dave Case
Don Bowen

Minutes

- Due to travel delay the chair opened the meeting by phone and asked Steve Julstrom to chair the meeting.  The meeting to order at 1:00 PM MT.   Participants were identified and self-introductions were made.

- The agenda was approved with the addition of an item to discuss H-Field removal and a review of the comment form revision suggestion.

- The minutes of the previous telecons were approved without change.

- The validation test plan was discussed with the following variations/actions:

  - It was generally agreed that LTE devices, especially with phone communication over LTE and not just data, will not be available in the necessary time frame.  However iDEN phones are available and would be a good addition.  So the four types to be included will be GSM, CDMA, UMTS, and iDEN.

  - Correlation between the old and new methods will be expected only for GSM.  For the others the comparisons will be noted.

  - Item 3 in the Overview needs clarification.  What kind of testing would be envisioned to “validate the correlation of the new test method to field performance of the phones tested”? (to Stephen B.)

  - Several labs have signed on to participate in the testing, but all are dependent on their scheduling needs.  Generally, they are not likely to be available until after the holiday rush.

  - Jim T. secured promises of phone availability from the five suppliers represented.  He will coordinate.

  - Phones will be tested both conducted and radiated.  For phones that do not have readily accessible conducted connections, an additional modified phone will need to be provided.

  - A fixed, worst-case modulation will be established for each protocol, for programming into the CMUs. Tom K., Dave C., and Steve L. to coordinate.  The suggestion was also made that there should also be such standardized descriptions included in the standard for each protocol.  New protocols would then be added by addendum.

  - To expedite further development of testing implementations, consideration will be given to developing a more detailed block diagram description, also for possible addition to the standard.  Steve J. to follow-up, with input from others.

- Concerning the low power exemption, there was agreement that at least the wording of section 4.3 Product Testing Threshold needed revision.  Following some discussion, it was decided to revisit this online when more data relating power and near-field strengths was available and analyzed.

- Concerning arbitration between the two test methods (direct fast probe and indirect slow probe), it was agreed that words should be added to section 5.1 to clarify that the two methods were not separate and distinct, but rather were two faces of the same test with either approach equally acceptable.  Steve J. to suggest wording.

- The discussion of whether or not to remove the H-field RF emission testing requirement was aided greatly by new industry data presented by Jim T. on over 100 devices.  Consensus can probably be reached online after further review of the data.

- Upon further review, most of the comment form revisions had been addressed, with a few exceptions and the major topics previously discussed.  Stephen B. will update the comment form and the draft where necessary.  Annex K.1 Summary Report needs updating.  Steve C. to obtain the original, if he has it.

- In-Person meeting: 

Mon. April 20, 2009 at TBD 
IEEE Headquarters
Piscataway, NJ

- The meeting was adjourned at 4:55 PM MT.

TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Thursday, April 16, 2009 at 2:00PM EST

Phone Number: 	(218) 936-4700

Meeting ID: 	626642

- Call to order and introductions

- Approval of agenda

- Review and approval of minutes for the April 9  telecon.

- Review of draft 1.10

- Test method validation

- In-Person meeting: 

Mon. April 20, 2009 at 12-5. 
IEEE Headquarters
Piscataway, NJ

- Adjourn

Summary of Action Items

| # | Item | Status |
| --- | --- | --- |
|  | Action Items from January 26, 2009 WG Meeting |  |
| 1 | Action item: Steve Julstrom, Tom Knipple and Stephen Berger will be reviewing the draft and incorporate contribution from Steve Julstrom and Tom Knipple. | Closed |
| 2 | Action item: Companies and groups that identified they will be performing comparative and verification testing are to mature plans and report plan on the Feb. 12 telecon. | Closed |
| 3 | Action item: Tom Knipple has been testing using the MIF method and will be presenting a report to the WG by 3/16/09. | Closed |
| 4 | Action item: Dave Chapman and Stephen Berger are to develop plans for verification testing and report back to the WG. | Status Report Given 3/12/09 Work Continuing |