Telecon Minutes

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Thursday, February 18, 2009 at 930 AM EST

Participants

Steve Julstrom

Daoud Attayi

Dave Preves

Jim Turner

Bob Hofmann

Donald Bowen

Dave Chapman

David Dzumba

Linda Kozma-Spytek

Fin Bomholt

Minutes

- The chair called the meeting to order.   Participants were identified and self-introductions were made.

- The agenda was reviewed and an item was added to review the rules for participation and voting rights on the WG.  The agenda was unanimously approved as modified.

- Jim Turner reported that 3 labs had completed the 1st round-robin and the equipment was going to the 4th lab.  A 5th and possibly a 6th lab will participate.

Steve Julstrom reported that the data was looking consistent with expectation, confirming the expected differences between the old and new test method.

Six phones are being tested in the round-robin but several have multiple modes, increasing the number of modes being tested.

- Steve Julstrom presented his analysis and proposal regarding the no-test threshold, presented in his November 12 contribution, “Analysis of Wireless Device Emissions Measurement Data and Recommendations”.

After discussion a vote was taken to adopt, with editorial revision, Steve’s proposed wording for the 1st paragraph of section 4.3 of the draft.  The vote passed with no negatives and one abstension.

- A review of Steve Julstrom’s analysis of E v H field, “Analysis of Wireless Device Emissions Measurement Data and Recommendations”, November 12, 2009, and “Comparison of Emissions and Immunity Data”, January 21, 2010.  From his analysis of the data Steve concluded that eliminating the H-Field testing for WD’s was supported by the data with only a small percentage of phones being different in their rating by more than a dB or two.  

A discussion then occurred speculating on how representative the data used in the analysis would be of future designs, especially designs with very different form factors.  The WG decided to defer a decision so as to allow manufacturers to talk to their antenna designers to explore the possible future variation in E / H field in future designs, especially those with very different form factors.

- The chair reviewed the rules for participation and voting membership in the WG.

- Adjourn

TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Thursday, February 18, 2009 at 9:30 AM EST

Phone Number: 	(218) 936-4700

Meeting ID: 	626642

- Call to order and introductions

- Approval of agenda

- Round Robin test status and logistics

- General review of draft and project status

- Review of rules for WG participation and voting membership

- Next telecon meeting: 

March 11, 2010 – 9:30 AM ET
April 1, 2010 – 9:30 AM ET

- Adjourn

| Conference Summary |  |
| --- | --- |
| Conference Type: | Web-Scheduled Standard |
| Conference Date: | Thursday, February 18, 2010 |
| Reservation Start Time: | 08:30 AM Central Std Time |
| Reservation End Time: | 10:10 AM Central Std Time |
| Dial-in Number: | 1-218-936-4700 |
| Access Code: | 626xxx |
| Conference Details |  |
| #; Start Time; End Time; Caller Number; Mins.. 1; 02/18/2010 08:29 AM; 09:46 AM; 309-659-xxxx; 78. 2; 02/18/2010 08:30 AM; 09:45 AM; 630-664-xxxx; 76. 3; 02/18/2010 08:30 AM; 09:46 AM; 512-869-xxxx; 77. 4; 02/18/2010 08:30 AM; 09:46 AM; 973-236-xxxx; 76. 5; 02/18/2010 08:31 AM; 09:46 AM; 941-201-xxxx; 75. 6; 02/18/2010 08:31 AM; 09:46 AM; 773-706-xxxx; 75. 7; 02/18/2010 08:31 AM; 09:26 AM; 469-231-xxxx; 55. 8; 02/18/2010 08:32 AM; 09:46 AM; 519-888-xxxx; 74. 9; 02/18/2010 08:32 AM; 09:46 AM; 301-693-xxxx; 74. 10; 02/18/2010 08:35 AM; 09:35 AM; 512-372-xxxx; 60. 11; 02/18/2010 08:45 AM; 09:46 AM; 144-245-xxxx; 61. 12; 02/18/2010 09:25 AM; 09:46 AM; 410-290-xxxx; 22. |
| Total Calls: | 12 |
| Peak number of active lines: | 12 |
| Lines reserved: | 10 |

Validation Test Plan

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

This test plan is being developed to validate the test method changes being considered for the next revision of the ANSI C63.19 standard.

Overview

This test method intends to achieve the following:

- Validate the clarity of the draft by performing the required tests.

  - The intention is to test phones using the following RF modulations:

    - GSM

    - CDMA

    - UMTS

    - LTE (if available)

  - The measurements will provide target values for MIF and final readings, which will be useful for laboratories to use in validating their own implementation of the test.

  - Validate that the test methods work for both fast and slow probes.

- Validate that the correlation of the new test method and new categories to the current test method and categories.

- Validate the correlation of the new test method to field performance of the phones tested

Tasks

The following tasks are necessary to achieve the objectives of this test plan:

| # | Task | Assignment / Status |
| --- | --- | --- |
| 1 | Identify Test Labs & their capbility - Test equipment (fast and/or slow probe) - Base stations (GSM, CDMA, etc.) | Daoud Attiya (RIM) Tom Knipple (Motorola) |
| 2 | Secure phones to be tested | ?? |
| 3. | Draft base station configuration for each protocol to be tested: - GSM - CDMA - UMTS - LTE (if available) | Justin Chao (PCTest) Dave Chapman (ATT) |
| 4. | Provide MIF test equipment: - Hardware implementation - Software implementation | Steve Julstrom Stephen Berger |
| 5. | Schedule tests, manage shipment of test objects & gathering of test data. | Stephen Berger |
| 6. | Have phones tested: - Using current standard - Using draft revision - Measure phone for MIF on live network in 5 different locations/circumstances | See item 1 |
| 7. | Compile and analyze data and provide it to the WG. | Stephen Berger |

My assumption is the RR can proceed with the straw man RR proposal I sent out, since no one had any comments on the objectives and level of detail.

Here are some other assumptions that I have made –

That testing will begin the first week in December and I had the manufacturers send their phones directly to RIM.

Participating Labs – Slow Probe

RIM

PCTEST

Motorola

Possibly Samsung* or Nokia* using overseas labs

Participating Labs – Fast Probe*

ETS Lingren or TEM

AT&T

Cisco

No formal commitment yet