Telecon Minutes

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Thursday, March 25, 2009 at 9:30 AM EST

Participants

Stephen  Berger

Stephen Julstrom

Daoud Attayi

Dave Preves

Jim Turner

Bill Hurst

David Case

Linda Kozma-Spytek

Justin Chao

Minutes

- The chair called the meeting to order.   Participants were identified and self-introductions were made.

- The agenda was reviewed and unanimously approved.

- Jim Turner reported that 3 labs had completed the testing.  A 4th lab received the equipment but could not complete the testing due to time limitations.  The equipment has been sent to a 5th lab.  No projected date was available when the 5th lab might complete their testing.

- A review of the draft was conducted with the following conclusions:

  - A flow chart is needed regarding the process for measuring the MIF.

  - Tutorial material will be needed to assure that the new revision is accurately understood and implemented.  The chair accepted an action item to pursue the topic with the C63 steering committee.  Possible options are:

    - Publication of papers

    - Workshops

    - On-line tutorial materials

    - Preparation of a lab manual

- Adjourn

TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Thursday, March 25, 2009 at 9:30 AM EST

Phone Number: 	(218) 936-4700

Meeting ID: 	626642

- Call to order and introductions

- Approval of agenda

- Round Robin test status and logistics

- General review of draft and project status

- Next telecon meeting: 

April 1, 2010 – 9:30 AM ET

- Adjourn