Telecon Minutes

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Thursday, April 1, 2009 at 9:30 AM EST

Participants

Stephen  Berger

Dave Preves

Jim Turner

Steve Coston

Tom Victorian

Don Bowen

Stephen Julstrom

Bill Hurst

Minutes

- The chair called the meeting to order.   Participants were identified and self-introductions were made.

- The agenda was reviewed and unanimously approved.

- Jim Turner reported that 3 labs had completed the 1st round-robin.  1 lab dropped out of the round-robin due to schedule demands.  SPEAG currently has the test phones and has started testing.  An anticipated completion data is was not available.

- Stephen Julstrom had prepared an interim report, summarizing the data from the 3 labs that had completed the exercise.  He reviewed the data and the WG discussed the significance of the findings.  The general trend is that there was good agreement between the labs and that the results were close to those anticipated.  There was a discussion of the MIF measurement for WCDMA, which had significant variance among the labs.   The MIF for WCDMA is small and therefore the variance represents variation in small numbers.  However, an action assignment was accepted by Stephen Julstrom and Jim Turner to study the issue further and seek to determine what accounted for the variability.

- A review of the draft was started with results of the discussion to be incorporated into Draft Revision 1.15.  Most of the discussion dealt with comments and suggested edits received from Stephen Julstrom and Fin Bomholt.

- In order to allow sufficient preparation time to support a decision to go to ballot at the April 19 meeting an additional telecon was scheduled for April 8 at 9:30 AM ET and the call time was extended to 2 hours.

- Adjourn

TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Thursday, April 1, 2009 at 9:30 AM EST

Phone Number: 	(218) 936-4700

Meeting ID: 	626642

- Call to order and introductions

- Approval of agenda

- Round Robin test status and logistics

- General review of draft and project status

- Next telecon meeting: 

April 8, 2010 – 9:30 AM ET

- Adjourn

| Conference Summary |  |  |  |
| --- | --- | --- | --- |
| Conference Type: |  | Web-Scheduled Standard |  |
| Conference Date: |  | Thursday, April 01, 2010 |  |
| Reservation Start Time: |  | 08:30 AM Central Daylight Time |  |
| Reservation End Time: |  | 10:10 AM Central Daylight Time |  |
| Dial-in Number: |  | 1-218-936-4700 |  |
| Access Code: |  | 626xxx |  |
| Conference Details |  |  |  |
| #; Start Time; End Time; Caller Number; Mins.. 1; 04/01/2010 08:28 AM; 09:45 AM; 301-362-xxxx; 77. 2; 04/01/2010 08:28 AM; 09:45 AM; 919-274-xxxx; 77. 3; 04/01/2010 08:30 AM; 09:45 AM; 512-869-xxxx; 76. 4; 04/01/2010 08:30 AM; 09:45 AM; 973-236-xxxx; 76. 5; 04/01/2010 08:30 AM; 09:45 AM; 952-828-xxxx; 76. 6; 04/01/2010 08:31 AM; 09:45 AM; 773-706-xxxx; 75. 7; 04/01/2010 08:31 AM; 09:45 AM; 309-659-xxxx; 74. 8; 04/01/2010 08:47 AM; 09:45 AM; 952-947-xxxx; 59. |