Telecon Minutes

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Friday, July 2, 2010 at 2:00 PM EST

Participants

Stephen Berger

Bill Hurst

Jim Turner

Stephen Julstrom

Donald Bowen

Shawn Giguere

Kendra Green

Steve Whitesell

Brian Beard

Steve Liu

Dave Chapman

David Dzumba

Linda Kozma-Spytek

Minutes

- The chair called the meeting to order.   Participants were identified and self-introductions were made.

- The agenda was reviewed and unanimously approved.

- Stephen Julstrom presented his summary and analysis of the round-robin testing data, which was followed by a general discussion of the results and their relevance to the standard.

- A review of the draft was started with results of the discussion to be incorporated into Draft Revision 1.18.  

The following action items were assigned, related to the revision of draft revision 1.18

  - Update the scope to include the work of TIA in this area.

  - Update Annex C.4 with representative MIF values.

  - Add guidance on orienting coaxial cable for probes that require them.

  - Remove H-Field testing from Clauses 1.2 & 1.3.

- Adjourn

TELECON AGENDA

ANSI C63.19

Method of Measurements for Compatibility between

Wireless Communications Devices

and

Hearing Aids

Time: 	Friday, July 2, 2009 at 2:00 PM EST

Phone Number: 	(218) 936-4700

Meeting ID: 	626642

- Call to order and introductions

- Approval of agenda

- Round Robin test data

- Review of draft and project status

- Next Telecon Meeting:

July 9, 2010 – 2:00 PM ET

- Adjourn

| Conference Summary |  |  |  |  |
| --- | --- | --- | --- | --- |
| Conference Type: | Web-Scheduled Standard |  |  |  |
| Conference Date: | Friday, July 02, 2010 |  |  |  |
| Reservation Start Time: | 01:00 PM Central Daylight Time |  |  |  |
| Reservation End Time: | 02:25 PM Central Daylight Time |  |  |  |
| Dial-in Number: | 1-218-936-4700 |  |  |  |
| Access Code: | 626xxx |  |  |  |
| Conference Details |  |  |  |  |
| #; Start Time; End Time; Caller Number; Mins.. 1; 07/02/2010 12:56 PM; 01:07 PM; 404-443-xxxx; 12. 2; 07/02/2010 12:58 PM; 01:07 PM; 301-796-xxxx; 10. 3; 07/02/2010 12:58 PM; 01:07 PM; 240-620-xxxx; 10. 4; 07/02/2010 12:59 PM; 01:07 PM; 512-869-xxxx; 9. 5; 07/02/2010 12:59 PM; 01:08 PM; 309-659-xxxx; 9. 6; 07/02/2010 01:00 PM; 01:07 PM; 973-236-xxxx; 8. 7; 07/02/2010 01:00 PM; 01:07 PM; 972-291-xxxx; 8. 8; 07/02/2010 01:00 PM; 01:07 PM; 773-706-xxxx; 7. 9; 07/02/2010 01:01 PM; 01:08 PM; 732-751-xxxx; 7. 10; 07/02/2010 01:01 PM; 01:07 PM; 512-372-xxxx; 7. 11; 07/02/2010 01:02 PM; 01:07 PM; ano-nym-xxxx; 6. 12; 07/02/2010 01:06 PM; 02:09 PM; 202-651-xxxx; 64. 13; 07/02/2010 01:06 PM; 02:09 PM; 240-620-xxxx; 64. 14; 07/02/2010 01:06 PM; 02:09 PM; 773-706-xxxx; 63. 15; 07/02/2010 01:07 PM; 01:07 PM; 973-236-xxxx; 1. 16; 07/02/2010 01:07 PM; 02:09 PM; 404-443-xxxx; 63. 17; 07/02/2010 01:07 PM; 02:09 PM; 309-659-xxxx; 63. 18; 07/02/2010 01:07 PM; 02:09 PM; 301-796-xxxx; 63. 19; 07/02/2010 01:07 PM; 02:09 PM; 732-751-xxxx; 63. 20; 07/02/2010 01:07 PM; 01:40 PM; ano-nym-xxxx; 34. 21; 07/02/2010 01:07 PM; 02:09 PM; 512-869-xxxx; 62. 22; 07/02/2010 01:08 PM; 02:09 PM; 972-291-xxxx; 62. 23; 07/02/2010 01:08 PM; 02:09 PM; 973-236-xxxx; 62. 24; 07/02/2010 01:08 PM; 01:58 PM; 512-372-xxxx; 50. 25; 07/02/2010 01:36 PM; 02:09 PM; 410-908-xxxx; 34. 26; 07/02/2010 01:42 PM; 02:09 PM; 503-741-xxxx; 27. |  |
| Total Calls: |  | 26 |  |  |
| Peak number of active lines: |  | 19 |  |  |
| Lines reserved: |  | 18 |  |  |